## Slide 1
Introductory Circuit Analysis, Boylestad, 12th Ed
Lecture 11
Attribution Nidhal Abdulaziz
ENGG104 Electrical Systems

## Slide 2
Chapter 15 – Boylestad
Impedance and phasor diagrams
Series and Parallel AC Circuits

## Slide 3: Impedance and Phasor Diagrams
Resistor
Boylestad, Prentice Hall 2007
V
I
Voltage and current are in phase

## Slide 4: Impedance and Phasor Diagrams
Inductor
V
I
Boylestad, Prentice Hall 2007
Current lags the voltage by 90 degrees
900

## Slide 5: Impedance and Phasor Diagrams
Capacitor
I
V
Boylestad, Prentice Hall 2007
Current leads the voltage by 90 degrees
900

## Slide 6: Impedance and Phasor Diagrams
An important note on phasor diagrams:
Any phasor diagram can be rotated in either direction as long as the relative phase angles (and the magnitudes) of the various phasors are maintained. For example, for the capacitor following can be done.
I
V
I
V
I
V
900
900
900

## Slide 7: Example 1

## Slide 8: Example 2
Phasor: write the magnitude
In rms value
Conventional: write the magnitude in peak value

## Slide 9: Example 3

## Slide 10: Example 4

## Slide 11: Series Connection of Impedances
Resistors, inductors and capacitors can be connected in series to form complex circuits. Since each component can be represented as an impedance, we can draw the following circuit:
Z1
Z2
Z3
Total impedance = ZT = Z1 + Z2 + Z3
Z1 = R,
Z2= jwL,
Z3 = 1/jwC

## Slide 12: Series Connection of Impedances
For a series connection of R, L and C
Total impedance = ZT = R + jwL+1/jwC =R + jXL - jXC
R
jwL
1/jwC
ZT
R
jXL
-jXC
R
jXL
-jXC
ZT
Impedance diagram

## Slide 13: Series Connection of Impedances
R
jwL
1/jwC
Supply voltage = VT = VR + VL + VC = IR + I(jXL) + I(- jXC)
VT
VR
VR
VL
VR
VC
IR
I(jXL)
I(-jXC)
VT
I
q
- angle between voltage current (power factor angle of the total circuit)
I has been selected to be the reference
I

## Slide 14: Example 5: Series Connection of Impedances

## Slide 15
Magnitude?
Phase?

## Slide 18: Example 6: Series Connection of Impedances

## Slide 22: Voltage Divider Rule
Example 15.9,
Using the voltage divider rule find the voltage across each element of the circuit

## Slide 23: Voltage Divider continued

## Slide 24: Voltage Divider Rule
Voltage divider rule states:
Vx - voltage across one or more elements connected in series that have a total impedance of Zx
ZT – total impedance of all series connected elements
VT – total voltage across all series connected elements

## Slide 25: Example 7: Voltage Divider

## Slide 26: Example 7 continued

## Slide 27: Example 7 Continued

## Slide 28: Example 8: Series Connection of Impedances

## Slide 29: Example 8 continued

## Slide 30: Example 8 Continued

## Slide 31: Example 8 Continued

## Slide 32: Example 8 Continued

## Slide 33: Example 8 Continued
VR is in phase with I
VL
Vc
VL-Vc
VR
VL – Vc + VR

## Slide 34: Frequency response of series circuits
The behaviour of a series connected R, L and C circuit will depend on the frequency response of the individual components added together using a phasor approach

## Slide 35: Frequency response of series circuits
at low frequencies L is less effective and impedance is governed by R and C
at high frequencies C is less effective and impedance is governed by R and L

## Slide 36: Frequency response of a series R-C circuit
Fig 15.48, p 655, Bolylestad
at low frequencies XC dominates (XC > R) and at high frequencies its dominance decreases (XC < R)

## Slide 37: Frequency response of a series R-C circuit
Variation of the magnitude of ZT with frequency
Variation of the angle of ZT with frequency

## Slide 38: Frequency response of a series R-L circuit
Example 15.12, p 661, Boylestad
Determine the frequency at which R = XL
(c) Find the total impedance for f =100Hz and 40kHz
(d) Plot VL vs frequency
(e) Find the phase angle of ZT at f = 40kHz. Can the circuit be considered inductive? Why?

## Slide 39: Frequency response of a series R-L circuit
Example 15.12, p 661, Boylestad…..
At this frequency, the impedance of the inductor
will be equal to the impedance of the resistor

## Slide 40: Example Continued

## Slide 41: Example Continued

## Slide 42: Example Continued

## Slide 43: Parallel AC Circuits
In general impedances can be connected in parallel. If Z1, Z2 .. ZN are connected in parallel we can write:
Fig 15.58, p 664, Bolylestad

## Slide 44: Parallel AC Circuits
For a resistance:
For an inductor:
For a capacitor:

## Slide 45: Parallel AC Circuits
Example 15.13, p 666, Boylestad
(a) Calculate the input impedance (b) Draw the impedance diagram (c) Find the admittance of each element (d) Determine the input admittance and draw the admittance diagram

## Slide 46: Example Continued

## Slide 47: Example Continued

## Slide 48: Parallel AC Circuits
Example 15.14, p 666, Boylestad
(a) Calculate the input impedance (b) Draw the impedance diagram (c) Find the admittance of each element (d) Determine the input admittance and draw the admittance diagram

## Slide 49: Example Continued
4.68{cos(20.56)+jsin(20.56)}
= 4.38 + j1.64

## Slide 50: Example Continued

## Slide 51: Parallel AC Circuits, more examples

## Slide 53: Current Divider Rule

## Slide 54: Current Divider Rule

## Slide 55: Another Example

## Slide 56: Frequency separation
Amplifier drives the speakers all connected in parallel through R-L-C circuits
Each speaker is able to reproduce a range of frequencies only, so divert those frequencies to appropriate speaker
Send low frequencies to the woofer and high frequencies to the tweeter and the mid range frequencies to the mid range speaker
Low frequency
High frequency
Mid range frequency

## Slide 57: Frequency separation
Assuming the amplifier to be a voltage source (12V) in series with an internal resistance (8W) (commonly known as the output impedance of the amplifier) the voltage that appear across the 8W speaker can be found out as the frequency varies in the audible range
RAmplifier
RSpeaker

## Slide 58: Frequency separation
Equations used to calculate the voltage across the speaker employing the voltage divider rule

## Slide 59: Frequency separation
Equations implemented in a spreadsheet used to calculate the voltage across speaker